Technical Offer Form

|  |
| --- |
| **Call for offers 24/2024/CWP: For the** **Supply and Installation of a Filter Backwash Water Recirculation and Reuse System at the Water Treatment Plant of Corinth, Municipality of Corinth.** |

|  |  |
| --- | --- |
| Name of Proposing Company / Organization: |  |
| Country of Registration:  |  |
| Name of Contact Person for this Offer: |  |
| Address: |  |
| Phone / Fax: |  |
| Email: |  |

**Selection Criteria**

1. Be enrolled in one of the official professional or trade registries at the country of registration.
2. Be licensed to perform works in Greece.
3. Provide Certification to carry out the requested works (ISO 9001:2015, ISO 14001:2015, ISO 45001:2018 or equivalent on “design, supply, installation, maintenance and support of water treatment systems).
4. Provide a statement of availability of resources (e.g. tools, equipment, personnel / technicians) to perform the requested tasks (either own resources or through collaboration). Minimum requirements:

- Power cutting tools (e.g. angle wheel)

- Drilling and screwing power tools

- Testing and measuring equipment for the electrical works (e.g. multi-meter)

- Small concrete mixer

- Small crane for moving heavy equipment.

1. Provide a statement that at least one certified electrician / installer will be used to perform the electrical works.
2. Provide a statement of understanding the requested objective, services, and deliverables.
3. Provide a Graphic Works Schedule - Program of Works in the form of a Gantt Chart.
4. Provide the datasheet of the offered electromechanical equipment (pumps / filters).
5. Provide a signed statement certifying that the equipment is new and unused.
6. Provide the CE or ISO certificates of the pumps, and any other electromechanical equipment which is to be offered.
7. Provide a warranty for good operation for at least 1 year for the whole system which is to be installed.
8. Provide proof of their average annual turnover for the last three (3) fiscal years being at least equivalent to the maximum amount of this Call.
9. Provide proof (contract and Certification of Good Execution and Operation) of having executed at least one work for potable water of equal or higher value which included at least five of the six following aspects, in the last three years:

- Booster water pumps

- Dosing pumps for chemicals

- Pipe flocculator

- Filtration with Lamella

- Filtration with pressure filter of at least two layers of filtering media)

- Control panel

1. Provide proof of visiting the location of installation of the requested system in the preset time period.