# Annex 2

# Financial Offer Form

Quotation Ref: 36/2024/Zero Drop Mornos

Supplier’s Details:

|  |  |
| --- | --- |
| Type of Business (Company/Self-employed – Freelancer) |  |
| Company Name/supplier name: |  |
| Address: |  |
| Tel/ e-mail address: |  |
| VAT or Tax registration No: |  |
| Name of Legal Representative: |  |

Schedule of Rates:

Rates and Total price of each item is to be quoted in **Euros** **Including VAT and any other Tax or Fee** that should apply for any reason.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **A/A** | **Service / Task** | **Unit** | **Quantity** | **Unit Price (€)** | **Unit VAT (€)** | **Total (€)** |
| **A. Filter Backwash Water Recirculation and Reuse System** | | | | | | | |
| **A1** | **A fully operational and on duty Filter Backwash Water Recirculation and Reuse System at the Water Treatment Plant of Kallithea, Municipality of Tanagra, in compliance with the technical specifications presented in the Annex of the present document.**  **The works included are the following:** | **System** | **1** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** | **=sum(A1.1 +A1.2+A1.3+ A1.4)** |
| A1.1 | Preparatory works (including (a) shed to protect the equipment to be placed outdoors, (b) concrete slab to place the outdoors equipment, (c) construction of a 10 m3 water collection tank) | Lump Sum | 1 |  |  |  |
| A1.2 | Delivery of equipment | Lump Sum | 1 | =sum(A1.2.1 to A1.2.17.) | =sum(A1.2.1 to A1.2.17.) | =sum(A1.2.1 to A1.2.17.) |
| A1.2.1 | Surface pump of 180 m3/h at 14 m, 11 kW | pcs | 1 |  |  |  |
| A1.2.2 | Flow balancing tank of 45 m3, LLDPE | pcs | 1 |  |  |  |
| A1.2.3 | Booster pump of 35 m3/h at 13 m, 2.2 kW | pcs | 1 |  |  |  |
| A1.2.4 | Pipe flocculation with chemical dosing inlets | pcs | 1 |  |  |  |
| A1.2.5 | Dosing pump for polymer (0 – 20 lt/h at 2 bar), including tank of 500 lt. for chemicals | set | 1 |  |  |  |
| A1.2.6 | Dosing pump for coagulant and sodium hydroxide (0 – 10 lt/h at 4 bar), including tank of 500 lt. for chemicals | set | 2 |  |  |  |
| A1.2.7 | Sedimentation tank(s) of a total surface of 55 m2 | set | 1 |  |  |  |
| A1.2.8 | Drying unit of daily bag filter surface of 16 m2 | set | 1 |  |  |  |
| A1.2.9 | Intermediate tank of 10 m3 | pcs | 1 |  |  |  |
| A1.2.10 | Pump of 35 m3/h at 20 m, 3 kW (able to support the backwash of the filters of 42’). | pcs | 1 |  |  |  |
| A1.2.11 | Pressure filter of 42”, including its filtering media | pcs | 3 |  |  |  |
| A1.2.12 | Pump of 45 m3/h at 22 m, 4 kW (able to support the backwash of the filters of 48’). | pcs | 1 |  |  |  |
| A1.2.13 | Pressure filter of 48”, including its filtering media | pcs | 3 |  |  |  |
| A1.2.14 | Control panel / electric board in synch with the existing operational system at the WTP | pcs | 1 |  |  |  |
| A1.2.15 | Coagulant for the start-up | Kg | 25 |  |  |  |
| A1.2.16 | Polymer for the start-up | Kg | 100 |  |  |  |
| A1.2.17 | Sodium hydroxide for the start-up | Kg | 25 |  |  |  |
| A1.3 | Hydraulic and electrical connections | Lump Sum | 1 |  |  |  |
| A1.4 | Testing and starting-up | Lump Sum | 1 |  |  |  |
|  | | | | | | |
| **B. Operation and Maintenance Manual** | | | | | | |
| B1 | Operation and Maintenance Manual, including troubleshooting section. | Manual | 1 |  |  |  |
|  | | | | | | |
| **C. Training** | | | | | | |
| C1 | Training session for the employees of the Technical Service of the Municipality of Tanagra. | Session | 1 |  |  |  |
|  | | | | | | |
| **GRAND TOTAL (€)** | | | | | | =sum(A1+B1+C1) |

The Participant I am representing (“We”) has examined, and accepts in full and in its entirety, the content of this quotation document (including subsequent Clarification Notes issued by the Contracting Authority). We hereby accept the contents thereto in their entirety, without reservation or restriction. We also understand that any disagreement, contradiction, alteration, deviation or omission shall lead to our offer not being considered any further. We offer to provide, in accordance with the terms of the tender document and the conditions and time limits laid down, without reservation or restriction, the requirements of this Call for offers.

*\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_*

*Signature Date*